|  | CENTER 212 AC/DC CLAMP METER |
| --- | --- |
|  | High Speed Bar Graph Measuring Range 1000A With 0.01 A Resolution DATA HOLD Function MAX / MIN function ZOOM function Relative function 1 ms Positive PEAK hold ,1 ms Negative PEAK hold Auto Ranging Numerical Display : 3-3/4 digital LCD, maximum reading 3999. Battery Life: 100 hr approx.(alkaline) Low Battery Indication: The is displayed. Sampling Rate: Digital:2 Times/sec; Analog Bargraph:20 Times/sec. Power Source: 9V battery( 6F22, 006P, 1604). Auto power off: 30minute Operating Condition : 0°C to 40°C(32°F to 104°F) < 80%RH. Storage Condition: -10°C to 60°C(14°F to 140°F) < 70%RH. Dimensions: 242 ×66×36mm; 9.53”×2.60” ×1.42” Weight: Approx.500g Accessories: Carrying case, Battery, Manual & Test Lead |