DC SIGNAL CONVERTER & DISTRIBUTTORS (Socket type)

NT-VA

■FEATURE

Accuracy:+/-0.1% FS

Measuring DC current: 0~20mA / 5A, DC voltage: 0~50mV / 600V

6 Popular Input and Output Ranges Programmable by Dip-Switch

Input type changeable by difference Input Modules

Dual difference signal output available

Low cost and high stability

CE Approved