|  | CENTER 120 Auto Range Multimeter - TRUE RMS - LED back light - "SlimComTM" RS-232 interface - IEC 1010 1000V CAT III - Auto Ranging - High speed bar graph - Auto power off - With Windows software - 1ms PEAK (max/min) function - MAX/MIN function - HOLD function - REL function - Capacitor measurement - Temperature measurement - Frequency measurement - AC/DC 10A measurement - Continuity measurement - Diode measurement - RPM measurement Display: 3-3/4 digital(4000 count) display Sample Rate: 2 times/sec for digital reading; 20 times/sec for analog bar indication Battery Type: 9V, NEDA 1604, IEC 6F22, JIS 006P Battery Life: 100 hours typical ( alkaline battery ) Operating Temp.: 0°Cto 40°C( < 80% humidity ) Storage Temp.: -10°Cto 60°C( < 70% humidity ) Dimension: 198mm×86mm×38mm (7.8" ×3.4" ×1.5") With holster: 209mm×94mm×48mm (8.2" ×3.7" ×1.9") Weight: Approx. 430g Accessory: Manual ,Test lead, 9V battery, Holster |
| --- | --- |